Filter Strips with Flow Dispersion

[Note:  a separate form must be used for each BMP]

Project Name:

Project Address:

BMP Name and Location:

Inspection Date:

Date Last Inspected:

Owner’s Name:

Owner’s Address:

| Maintenance Item | Satisfactory | Unsatisfactory | Comments/Actions Required |
| --- | --- | --- | --- |
| 1. Debris Cleanout |
| Clear of trash and debris |  |  |  |
| 2. Vegetation Management |
| Grass height (maintain 2-6 inch height) |  |  |  |
| Unwanted vegetation present |  |  |  |
| 3. Erosion |
| Evidence of soil erosion in filter strip and below dispersion device |  |  |  |
| 4. Drainage |
| Evidence of standing water |  |  |  |
| Evidence of bypass |  |  |  |
| Check outlet pipes for clogging |  |  |  |
| 5. Sedimentation |
| Sediment accumulation |  |  |  |
| 6. Energy dispersion / check dams |
| Condition / functionality of dispersion devices |  |  |  |
| Debris on dispersion devices |  |  |  |
| Condition of check dams |  |  |  |
| Inspect pea gravel diaphragm (replace as needed) |  |  |  |
| 7. Miscellaneous: |

Maintenance Actions Taken:  [If any of the above items were marked “U” for unsatisfactory, explain the actions taken and time table for correction. Attach additional pages as necessary.]

Additional Comments:

Inspector Name:

Inspector Email Address:

Inspector Phone Number:

Inspector Address:

_____________________________________	________________________

Inspectors Signature					Date

[Note:  The NCDENR Stormwater BMP Manual states that all BMPs require inspection monthly and within 24 hours after every water quality storm (greater than 1.0 inch) to prevent any problems with flow or vegetative health before they become serious.  All inspections should be recorded using this form.  Please note that you are required to keep these records available and they are subject to be reviewed by local, state and federal agencies.]